## Sheet1
Minchinhampton PCC LOG BOOK 2023
Date of action | Description + location of drawings if nec. | Date of Faculty or Archdeacon’s Certificate | QQ inspection report ref. | Contractor | Cost including VAT | Grants
03.01.23 | Repair of flagpole |  |  | Hampshireflag | 527.4
17.01.23 | Churchyard signs |  |  | CR Signs | 450
31.03.23 | Underfloor heating controls |  |  | Tradecraft | 144
31.03.23 | Boiler ignition and electrodes |  |  | Tradecraft | 96
11.4.23 | Electrical system major upgrades |  |  | A J Smith | 6892.34
9.6.23 | Floor access hatches |  |  | M Hancock | 1141.2
14.7.23 | Strimmer service |  |  |  | 104.95
7.8.23 | Porch Room lighting upgrade |  |  | A J Smith | 1387.56
8.9.23 | Fire Security service charge |  |  | CIA Fire Security | 178.78
01.10.23 | Floor access hatches and pointing |  |  | M Hancock | 3330
10.10.23 | Repair to east boundary wall |  |  | J Wilkinson | 1700
20.11.23 | Church heating repair |  |  | Tradecraft | 124.8
20.11.23 | Church boiler repair |  |  | Tradecraft | 149.41
20.11.23 | Repairs to South parapet and Porch Rm roof |  |  | N Miles | 1336.5
14.12.23 | Temp repair to north parapet roof |  |  | N Miles | 1669.2
30.11.23 | Alarm system check |  |  | CIA Fire Security | 39.3